Instruction of software burning

Please cut off the AC&DC power before operation.

- Connect programmer to IC

Port 1

Picture1   programmer

Port 2

Connect port 1 to port 2

Picture 2  board

Connect port 1 to port 2

5V will be shown here.

- Connect programmer to the USB port of the computer.

Connect the programmer  port to the USB port of PC

Picture5

3. Open the software(ST Visual Programmer).

After opening the software, we can see the interface shown as the picture.

Double click to open the software

Picture6

Picture7

4.Selecting the kind of the IC

Pop up the drop-down list. And then select “STM32F103x8”

Picture8

5.Loading file

5.1 Loading program file

Click to load the program file

Picture9

And then open the files

Picture10

Find the correct file and double click

Picture11

Load program file

Picture 12

Erase the old programme

Load the programme to the borad